DRAFT

9. Precision and Bias

9.1 The precision of this test method is based on an interlaboratory study of , , conducted in .

laboratories tested  different materials. Every “test result” represents an individual determination. Each laboratory was asked to submit  replicate test results, from a single operator, for each material.  Practice E 691 was followed for the design and analysis of the data; the details are given in ASTM Research Report No. -XXXX.

9.1.1 Repeatability limit (r) - Two test results obtained within one laboratory shall be judged not equivalent if they differ by more than the “r” value for that material; “r” is the interval representing the critical difference between two test results for the same material, obtained by the same operator using the same equipment on the same day in the same laboratory.

9.1.1.1 Repeatability limits are listed in the Tables below.

9.1.2 The above terms (repeatability limit and reproducibility limit) are used as specified in Practice E 177.

9.1.3 Any judgment in accordance with statement 9.1.1 and would have an approximate 95% probability of being correct.

Table 1.   ()

| Material | Average 1 | Repeatability Standard Deviation | Repeatability Limit |
| --- | --- | --- | --- |
|  |  | sr | r |
| A |  |  |  |
| B |  |  |  |
| C |  |  |  |
| D |  |  |  |
| E |  |  |  |

9.2 Bias—.

9.3 The precision statement was determined through statistical examination of  results, from  laboratories, on  materials.  These  materials were described as the following:

:

:

:

9.4 To judge the equivalency of two test results, it is recommended to choose the material closest in characteristics to the test material.

1 The average of the laboratories’ calculated averages.